## Master_Inventory
Grid | Facility Name | Operating SPV | Parent Developer | Fuel Type | Technology Sub-Type | Region | Province | Municipality | Latitude (°N) | Longitude (°E) | Installed (MW) | Dependable (MW) | Actual / Target COD | Status | Permitting Framework | Contract / Market Type
Luzon | Sual Power Station | TeaM Sual Corp. | TeaM Energy & Marubeni | Coal | Pulverized Bituminous Coal (Subcritical) | Region I | Pangasinan | Sual | 16.1242 | 120.1014 | 1218 | 1200 | 1999-10-01 | Operational | Standard PEISS (ECC) | BOT Concession (NPC-IPP), ERC COC
Luzon | Masinloc Units 1-3 | Masinloc Power Partners Co. Ltd. | SMC Global Power | Coal | Pulverized Subcritical & Supercritical Coal | Region III | Zambales | Masinloc | 15.5612 | 119.9234 | 1019 | 960 | Jun 1998 / Sep 2020 | Operational | Standard PEISS (ECC Ref 9306-004) | WESM Direct, ERC COC
Luzon | Masinloc Units 4-5 | Masinloc Power Partners Co. Ltd. | SMC Global Power | Coal | Supercritical Pulverized Coal | Region III | Zambales | Masinloc | 15.5612 | 119.9234 | 700 | 660 | Aug 2025 / Apr 2026 | Committed | Standard PEISS (Amended ECC) | WESM Direct
Luzon | GNPower Dinginin | GNPower Dinginin Ltd. Co. | AboitizPower & ACEN | Coal | Supercritical Pulverized Coal | Region III | Bataan | Mariveles | 14.4281 | 120.5362 | 1336 | 1300 | Nov 2021 / May 2022 | Operational | Standard PEISS (ECC) | Bilateral Power Supply Agreements, ERC COC
Luzon | GNPower Mariveles | GNPower Mariveles Energy Center | AboitizPower | Coal | Subcritical Pulverized Coal | Region III | Bataan | Mariveles | 14.4325 | 120.5312 | 632 | 600 | 2013-04-01 | Operational | Standard PEISS (ECC) | Bilateral PSA, ERC COC
Luzon | Mariveles Coal Phase II (U5-U6) | Mariveles Power Generation Corp. | SMC Global Power | Coal | Circulating Fluidized Bed (CFB) Coal | Region III | Bataan | Mariveles | 14.435 | 120.528 | 600 | 560 | Jun 2029 / Dec 2029 | Committed | Standard PEISS (ECC) | Bilateral PSA
Luzon | Pagbilao Power Station | TeaM Energy Corp. & AboitizPower | Pagbilao Energy | Coal | Pulverized Bituminous Coal (Subcritical & Supercritical) | Region IV-A | Quezon | Pagbilao | 13.8964 | 121.7451 | 1155 | 1080 | Aug 1996 / Feb 2018 | Operational | Standard PEISS (ECC) | BOT/IPP Concession, ERC COC
Luzon | San Buenaventura | San Buenaventura Power Ltd. | MGen & EGCO | Coal | Supercritical Pulverized Coal | Region IV-A | Quezon | Mauban | 14.2361 | 121.7583 | 500 | 455 | 2019-09-01 | Operational | Standard PEISS (ECC) | Bilateral PSA (Meralco), ERC COC
Luzon | Quezon Power Plant | Quezon Power (Philippines) Ltd. | Electricity Generating PCL | Coal | Subcritical Pulverized Coal | Region IV-A | Quezon | Mauban | 14.2322 | 121.7541 | 511 | 460 | 2000-05-01 | Operational | Standard PEISS (ECC) | Dedicated Long-Term PPA, ERC COC
Luzon | Calaca Power Complex | SEM-Calaca Power Corp. & SLPGC | Semirara Mining & Power | Coal | Pulverized Subcritical & CFB Coal | Region IV-A | Batangas | Calaca | 13.9326 | 120.7897 | 900 | 800 | Jun 1984 / Feb 2016 | Operational | Standard PEISS (ECC) | Privatized Asset (PSALM-to-SMPFC), ERC COC
Luzon | Ilijan Power Plant | South Premiere Power Corp. | SMC Global Power | Natural Gas | Combined Cycle Gas Turbine (CCGT / LNG) | Region IV-A | Batangas | Batangas City | 13.6261 | 121.0364 | 1200 | 1170 | 2002-06-01 | Operational | Standard PEISS (ECC) | Formerly NPC-IPP, Linseed LNG Receiving, ERC COC
Luzon | Santa Rita Combined Cycle | First Gas Power Corp. | First Gen | Natural Gas | CCGT (Indigenous Gas / LNG) | Region IV-A | Batangas | Batangas City | 13.7712 | 121.0253 | 1000 | 960 | 2000-08-01 | Operational | Standard PEISS (ECC) | Malampaya GSPA / FGEN LNG FSRU, ERC COC
Luzon | San Lorenzo Combined Cycle | FGP Corp. | First Gen | Natural Gas | CCGT (Indigenous Gas / LNG) | Region IV-A | Batangas | Batangas City | 13.7745 | 121.0281 | 500 | 480 | 2002-10-01 | Operational | Standard PEISS (ECC) | Malampaya GSPA / FGEN LNG, ERC COC
Luzon | San Gabriel Combined Cycle | First NatGas Power Corp. | First Gen | Natural Gas | CCGT (Single-Shaft 1-on-1) | Region IV-A | Batangas | Batangas City | 13.7761 | 121.0312 | 414 | 414 | 2016-11-01 | Operational | Standard PEISS (ECC) | Flexible Regasified LNG, ERC COC
Luzon | Avion Peaking Plant | Prime Meridian Powergen Corp. | First Gen | Natural Gas | Open Cycle Aero-Derivative Gas Turbine | Region IV-A | Batangas | Batangas City | 13.775 | 121.029 | 97 | 97 | 2016-09-01 | Operational | Standard PEISS (ECC) | Fast-Start Peaking / ASPA, ERC COC
Luzon | Batangas Combined Cycle (Phase 1) | Excellent Energy Resources Inc. | SMC Global Power | Natural Gas | High-Efficiency CCGT (LNG-Fired) | Region IV-A | Batangas | Batangas City | 13.722 | 121.045 | 1320 | 1280 | 2025-05-01 | Committed | Standard PEISS (ECC) | Regasified LNG Terminal Integration
Luzon | Batangas Clean Energy LNG | Batangas Clean Energy Inc. | Kepco & Ayala | Natural Gas | Combined Cycle Gas Turbine | Region IV-A | Batangas | Batangas City | 13.738 | 121.051 | 1100 | 1050 | TBD | Committed | Standard PEISS (ECC Under Review) | Midstream Hub Framework
Luzon | Energy World LNG Station | Energy World Corp. | Energy World Corp. | Natural Gas | Combined Cycle Gas Turbine | Region IV-A | Quezon | Pagbilao | 13.912 | 121.731 | 650 | 600 | TBD | Committed | Standard PEISS (ECC) | Hub Terminal PPA Delays
Luzon | Atimonan One Energy (CCGT Conversion) | Atimonan One Energy Inc. | Meralco PowerGen | Natural Gas | Combined Cycle Gas Turbine | Region IV-A | Quezon | Atimonan | 14.032 | 121.905 | 1280 | 1200 | TBD | Committed | Amended ECC (Coal-to-Gas Conversion) | Bilateral PSA
Luzon | Tiwi Geothermal Facility | AP Renewables Inc. | AboitizPower | Geothermal | Flash Steam Geothermal | Region V | Albay | Tiwi | 13.4614 | 123.6331 | 234 | 205 | 1979-01-01 | Operational | Standard PEISS | Geothermal Operating Contract (GOC), ERC COC
Luzon | Makiling-Banahaw (MakBan) | AP Renewables Inc. | AboitizPower | Geothermal | Flash Steam Geothermal | Region IV-A | Laguna / Batangas | Bay / Sto. Tomas | 14.0881 | 121.2183 | 458 | 390 | 1979-05-01 | Operational | Standard PEISS | GOC Concession, ERC COC
Luzon | Bacon-Manito (BacMan) | Bacman Geothermal Inc. | Energy Development Corp. | Geothermal | Conventional Flash Steam | Region V | Albay / Sorsogon | Manito / Sorsogon | 13.0612 | 123.9781 | 140 | 120 | 1993-05-01 | Operational | Standard PEISS (ECC) | GOC Concession, ERC COC
Luzon | Palayan Binary Project | Bacman Geothermal Inc. | Energy Development Corp. | Geothermal | Binary Brine Optimization | Region V | Albay | Manito | 13.058 | 123.972 | 29 | 28 | 2025-03-01 | Committed | Standard PEISS (ECC) | GOC Expansion
Luzon | Tanawon Geothermal | Bacman Geothermal Inc. | Energy Development Corp. | Geothermal | Flash Steam Deep Well | Region V | Sorsogon | Sorsogon City | 13.045 | 123.982 | 21.57 | 20 | 2025-04-01 | Committed | Standard PEISS (ECC), NCIP Precondition | GOC Framework
Luzon | Kalayaan Pumped Storage | CBK Power Co. Ltd. | J-Power & Sumitomo | Hydro | Reversible Pumped Storage Hydro | Region IV-A | Laguna | Kalayaan | 14.3312 | 121.4921 | 736 | 720 | Feb 1983 / Apr 2004 | Operational | Standard PEISS (ECC) | 25-Year BOT Concession, Ancillary ASPA
Luzon | San Roque Multi-Purpose Hydro | San Roque Power Corp. | SMC Global Power | Hydro | Storage Reservoir Hydropower | Region I | Pangasinan | San Manuel | 16.1481 | 120.6862 | 435 | 411 | 2003-05-01 | Operational | Standard PEISS (ECC) | PPA / WESM Direct, Irrigation Interface
Luzon | Magat Hydropower Plant | SN Aboitiz Power-Magat | Aboitiz & Scatec | Hydro | Storage Dam Hydroelectric | Region II | Isabela / Ifugao | Ramon / Alfonso Lista | 16.8224 | 121.4512 | 388 | 380 | 1983-07-01 | Operational | Standard PEISS (ECC) | Privatized PSALM Asset, Ancillary Services
Luzon | Angat Hydroelectric Plant | Angat Hydropower Corp. | SMC & K-Water | Hydro | Storage Reservoir Hydropower | Region III | Bulacan | Norzagaray | 14.9082 | 121.1441 | 246 | 218 | 1967-07-01 | Operational | Standard PEISS (ECC) | Water Rights NWRB Agreement
Luzon | Pantabangan-Masiway | First Gen Hydro Power Corp. | First Gen | Hydro | Storage / Run-of-River Cascade | Region III | Nueva Ecija | Pantabangan | 15.8192 | 121.1394 | 132 | 128 | 1977-02-01 | Operational | Standard PEISS (ECC) | Concession PPA, ERC COC
Luzon | Ambuklao Hydroelectric | SN Aboitiz Power-Benguet | Aboitiz & Scatec | Hydro | Storage Impoundment | CAR | Benguet | Bokod | 16.4883 | 120.7381 | 105 | 105 | Dec 1956 / Jun 2011 | Operational | Standard PEISS (ECC), NCIP FPIC/CP | ERC COC
Luzon | Binga Hydroelectric | SN Aboitiz Power-Benguet | Aboitiz & Scatec | Hydro | Storage Impoundment | CAR | Benguet | Itogon | 16.4031 | 120.6722 | 140 | 135 | May 1960 / Jul 2013 | Operational | Standard PEISS (ECC), NCIP FPIC/CP | ERC COC
Luzon | Pakil / Ahunan Pumped Storage | Ahunan Power Inc. | Prime Infrastructure Capital | Hydro | Closed-Loop Reversible Pumped Storage | Region IV-A | Laguna | Pakil | 14.3781 | 121.4863 | 1400 | 1200 | Q1 2027 / 2030 | Indicative | Standard PEISS (EIS), LLDA Clearance | HSC No. 2021-07-892, GEA-3 Award
Luzon | Wawa Pumped Storage | Olympia Violago Water & Power | Prime Infra | Hydro | Closed-Loop Pumped Storage | Region IV-A | Rizal | Rodriguez (Montalban) | 14.6994 | 121.204 | 600 | 500 | 2030 / 2031 | Indicative | Standard PEISS (ECC) | HSC Awarded, BOI Green Lane
Luzon | Kapangan Run-of-River | Cordillera Hydro Electric Power Corp. | Cordillera Hydro Electric | Hydro | Run-of-River Hydropower | CAR | Benguet | Kapangan / Kibungan | 16.581 | 120.612 | 60 | 58 | 2027-06-01 | Committed | Standard PEISS, NCIP FPIC/CP | HSC, GEAP
Luzon | San Marcelino Solar Farm | Santa Cruz Solar Energy Inc. | ACEN | Solar | Utility-Scale Ground Photovoltaic | Region III | Zambales | San Marcelino | 14.9782 | 120.2134 | 384 | 300 | Jun 2023 / Dec 2024 | Operational | Standard PEISS (ECC) | SESC, WESM Merchant Dispatch
Luzon | Concepcion Solar Farm | Solar Philippines Tarlac Corp. | SPNEC | Solar | Ground-Mounted Tracking PV | Region III | Tarlac | Concepcion | 15.3214 | 120.6552 | 150 | 120 | Nov 2019 / Jan 2022 | Operational | Standard PEISS (ECC) | SESC, ERC COC
Luzon | Hermosa Solar Power | ACEN Corp. | ACEN | Solar | Ground-Mounted Photovoltaic | Region III | Bataan | Hermosa | 14.8321 | 120.4721 | 140 | 110 | 2022-09-01 | Operational | Standard PEISS (ECC) | SESC, Bilateral RE Supply
Luzon | Terra Solar Mega-Complex | Terra Solar Philippines Inc. | SPNEC & MGen | Solar | Centralized Solar PV + BESS | Region III | Nueva Ecija / Bulacan | Gapan, Peñaranda / San Miguel | 15.281 | 121.021 | 3500 | 2800 | Q1 2026 / Dec 2027 | Committed | Standard PEISS (Programmatic EIS) | SESC Awarded, EO 18 Green Lane
Luzon | Laguna Lake Floating Solar (Block 1-10) | Blueleaf Energy & SunAsia Energy JV | Blueleaf & SunAsia | Solar | Waterborne Floating Photovoltaic (FPV) | Region IV-A | Laguna | Calamba, Cabuyao, Bay | 14.281 | 121.185 | 610.5 | 480 | 2026 / 2027 | Indicative | DENR DAO 2023-08 / DAO 2024-05, LLDA Lease | SESC Concession
Luzon | Burgos Wind Power Station | EDC Wind Power Corp. | Energy Development Corp. | Wind | Onshore Utility Wind Turbines | Region I | Ilocos Norte | Burgos | 18.5171 | 120.6432 | 150 | 150 | 2014-11-01 | Operational | Standard PEISS (ECC) | WESC Concession, FIT-Eligible, ERC COC
Luzon | Caparispisan Wind Power | North Luzon Renewable Energy Corp. | ACEN | Wind | Onshore Utility Wind Turbines | Region I | Ilocos Norte | Pagudpud | 18.5912 | 120.7671 | 81 | 81 | 2014-11-01 | Operational | Standard PEISS (ECC) | WESC Concession, FIT-Eligible, ERC COC
Luzon | Pililla Wind Power Project | Alternergy Philippine Wind One Corp. | Alternergy | Wind | Onshore Utility Wind Turbines | Region IV-A | Rizal | Pililla | 14.4842 | 121.3281 | 54 | 54 | 2015-06-01 | Operational | Standard PEISS (ECC) | WESC, FIT Concession, ERC COC
Luzon | Northern Luzon Offshore Wind | CI NMF | Copenhagen Infrastructure Partners | Wind | Fixed-Bottom / Floating OSW | Region I | Ilocos Norte | Offshore Laoag / Currimao | 18.15 | 120.35 | 1000 | 950 | 2028 / 2029 | Indicative | DENR DAO 2024-02 (OSW Guidelines) | OSWESC Awarded, EO 21 Framework
Luzon | Masinloc BESS Facility | SMGP BESS Power Inc. | SMC Global Power | BESS | Lithium-Ion Utility Energy Storage | Region III | Zambales | Masinloc | 15.5612 | 119.9234 | 60 | 60 | 2023-01-01 | Operational | Standard PEISS (ECC) | NGCP ASPA Reserve Ancillary Services
Luzon | Limay (Lamao) BESS | SMGP BESS Power Inc. | SMC Global Power | BESS | Lithium-Ion Utility Energy Storage | Region III | Bataan | Limay | 14.5312 | 120.5981 | 50 | 50 | 2023-03-01 | Operational | Standard PEISS (ECC) | NGCP ASPA Reserve Ancillary Services
Luzon | San Manuel BESS | SMGP BESS Power Inc. | SMC Global Power | BESS | Lithium-Ion Utility Energy Storage | Region I | Pangasinan | San Manuel | 16.0681 | 120.6692 | 60 | 60 | 2023-05-01 | Operational | Standard PEISS (ECC) | NGCP ASPA Contingency/Regulation
Luzon | Terra Solar Integrated BESS | Terra Solar Philippines Inc. | SPNEC & MGen | BESS | Lithium Iron Phosphate (LFP) BESS | Region III | Nueva Ecija | Gapan / Peñaranda | 15.281 | 121.021 | 1125 | 1125 | 2026 / 2027 | Committed | Embedded Storage under SESC | Comprehensive SESC Framework
Visayas | Cebu Energy Development (CEDC) | Cebu Energy Development Corp. | MGen | Coal | Circulating Fluidized Bed (CFB) Coal | Region VII | Cebu | Toledo City | 10.3852 | 123.6391 | 246 | 225 | 2011-02-01 | Operational | Standard PEISS (ECC) | Bilateral PSA (VECO), ERC COC
Visayas | Toledo Power Sangi Station | Toledo Power Co. | MGen | Coal | CFB Clean Coal Combustion | Region VII | Cebu | Toledo City | 10.3781 | 123.6425 | 82 | 75 | 2014-12-01 | Operational | Standard PEISS (ECC) | Bilateral Industrial PPA
Visayas | Therma Visayas Energy Project | Therma Visayas Inc. | AboitizPower | Coal | CFB Coal-Fired Thermal | Region VII | Cebu | Toledo City | 10.4214 | 123.6621 | 340 | 300 | Apr 2019 / Jun 2019 | Operational | Standard PEISS (ECC) | Merchant / Bilateral, ERC COC
Visayas | KEPCO SPC Power Complex | KEPCO SPC Power Corp. | KEPCO & SPC | Coal | Circulating Fluidized Bed Coal | Region VII | Cebu | Naga City | 10.2081 | 123.7583 | 206 | 190 | 2011-05-01 | Operational | Standard PEISS (ECC) | Joint Venture Concession, ERC COC
Visayas | Panay Energy Thermal Complex | Panay Energy Development Corp. | MGen | Coal | Circulating Fluidized Bed Coal | Region VI | Iloilo | Iloilo City (La Paz) | 10.7092 | 122.5934 | 314 | 285 | Mar 2011 / Dec 2016 | Operational | Standard PEISS (ECC) | Bilateral PSA (Panay ECs), ERC COC
Visayas | Palm Concepcion Unit 1 | Palm Concepcion Power Corp. | Palm Thermal | Coal | Circulating Fluidized Bed Coal | Region VI | Iloilo | Concepcion | 11.2053 | 123.1114 | 135 | 125 | 2016-08-01 | Operational | Standard PEISS (ECC) | Bilateral Distribution PPA
Visayas | Palm Concepcion Unit 2 | Palm Concepcion Power Corp. | Palm Thermal | Coal | Circulating Fluidized Bed Coal | Region VI | Iloilo | Concepcion | 11.2053 | 123.1114 | 135 | 125 | 2028-12-01 | Committed | Standard PEISS (ECC) | Non-Coverage Moratorium Confirmation
Visayas | Unified Leyte (Tongonan Complex) | Energy Development Corp. | First Gen | Geothermal | Flash Steam & Binary Geothermal | Region VIII | Leyte | Kananga / Ormoc City | 11.1272 | 124.6391 | 551 | 480 | Jul 1983 / Jul 1997 | Operational | Standard PEISS | Geothermal Operating Contract (GOC), ERC COC
Visayas | Mahanagdong Brine Optimization | Energy Development Corp. | First Gen | Geothermal | Binary Brine Energy Recovery | Region VIII | Leyte | Ormoc City | 11.142 | 124.621 | 28 | 26 | 2025-12-01 | Committed | Standard PEISS (ECC) | GOC Optimization Framework
Visayas | Palinpinon Geothermal Station | Energy Development Corp. | First Gen | Geothermal | Conventional Flash Steam | NIR | Negros Oriental | Valencia | 9.2891 | 123.1952 | 192.5 | 175 | May 1983 / Dec 1994 | Operational | Standard PEISS (ECC) | GOC Concession, Privatized NPC Asset
Visayas | Nasulo Geothermal Power Project | Energy Development Corp. | First Gen | Geothermal | Flash Steam Utilization | NIR | Negros Oriental | Valencia | 9.2942 | 123.2051 | 49.5 | 48 | 2014-07-01 | Operational | Standard PEISS (ECC) | GOC Framework, ERC COC
Visayas | Bago Binary Geothermal Plant | Energy Development Corp. | First Gen | Geothermal | Low-Enthalpy Binary Geothermal | NIR | Negros Occidental | Bago City (Mailum) | 10.512 | 123.089 | 5.65 | 5 | Mar 2026 / Dec 2026 | Committed | Standard PEISS (ECC) | GOC Commerciality
Visayas | Biliran Geothermal (Phase 1-3) | Biliran Geothermal Inc. | Nickel Asia Corp. | Geothermal | Volcanic Flash / Binary Geothermal | Region VIII | Biliran | Caibiran | 11.568 | 124.581 | 50 | 46 | Apr 2025 / TBD | Committed | Standard PEISS (ECC) | GOC Concession, BILECO Interconnection
Visayas | Bohol In-Island Diesel Station | SPC Power Corp. | SPC Power | Oil-Based | Heavy Fuel Bunker Internal Comb. | Region VII | Bohol | Ubay | 10.052 | 124.461 | 95.2 | 90 | 2025-09-01 | Committed | Standard PEISS | Island Security Peaking Reserve
Visayas | Cadiz Solar Power Plant | Helios Solar Energy Corp. | Equis / Soleq | Solar | Ground-Mounted Photovoltaic | NIR | Negros Occidental | Cadiz City | 10.9324 | 123.3321 | 132.5 | 100 | 2016-03-01 | Operational | Standard PEISS (ECC) | SESC, Priority FIT Allocation
Visayas | San Carlos Solar (SaCaSol I-II) | San Carlos Solar Energy | Bronzeoak & ThomasLloyd | Solar | Ground Photovoltaic Array | NIR | Negros Occidental | San Carlos City | 10.4851 | 123.4092 | 45 | 35 | May 2014 / Jul 2015 | Operational | Standard PEISS (ECC) | Inaugural Philippine Utility Solar
Visayas | Calatrava Solar Project | Aboitiz Solar Power Inc. | AboitizPower | Solar | Ground Photovoltaic Station | NIR | Negros Occidental | Calatrava | 10.592 | 123.481 | 137.48 | 110 | 2025-03-01 | Committed | Standard PEISS (ECC) | SESC, Bilateral RE PPA
Visayas | San Isidro Solar (Phases 1 & 2) | San Isidro Solar Power Corp. | San Isidro Solar | Solar | Dual-Phase Photovoltaic Complex | Region VIII | Leyte | San Isidro | 11.412 | 124.361 | 224 | 180 | Apr 2026 / Oct 2026 | Committed | Standard PEISS (ECC) | SESC, GEA-2 Award
Visayas | Bacolod Solar Power Project | Negros PH Solar Inc. | Negros PH Solar | Solar | Single-Axis Tracking PV | NIR | Negros Occidental | Bacolod City | 10.645 | 122.981 | 117.12 | 95 | 2026-06-01 | Committed | Standard PEISS (ECC) | SESC Concession
Visayas | Kananga-Ormoc Solar Farm | Solar Philippines Visayas Corp. | SPNEC | Solar | Ground Photovoltaic Installation | Region VIII | Leyte | Kananga / Ormoc | 11.112 | 124.589 | 300 | 240 | Dec 2025 / 2026 | Committed | Standard PEISS (ECC) | SESC, GEA-1 Awardee
Visayas | San Lorenzo Wind Farm | Trans-Asia Renewable | PHINMA Energy | Wind | Onshore Turbine Array | Region VI | Guimaras | San Lorenzo | 10.5982 | 122.6881 | 54 | 45 | 2014-12-01 | Operational | Standard PEISS (ECC) | WESC Concession, FIT System
Visayas | Nabas Wind Project (Phases 1 & 2) | PetroWind Energy Inc. | PetroGreen & BCPG | Wind | Mountain Ridge Wind Turbine Complex | Region VI | Aklan | Nabas / Malay | 11.8312 | 121.9964 | 49.56 | 42 | Jun 2015 / Feb 2026 | Operational / Committed | Standard PEISS (ECC) | WESC, FIT (Phase 1) / GEA-2 (Phase 2)
Visayas | Gemini Wind Power Project | Gemini Wind Energy Corp. | Gemini Wind Energy | Wind | High-Altitude Turbine Concession | Region VIII | N. Samar / Samar | San Isidro / Calbayog | 12.215 | 124.382 | 304 | 270 | 2026-12-01 | Committed | Standard PEISS (ECC) | WESC, GEA-2 Awardee
Visayas | Guimaras Strait Offshore Wind | Triconti SCCW | Steam Resources JV | Wind | Fixed-Bottom Offshore Wind Turbines | Region VI | Negros Occ. / Iloilo | Guimaras Strait | 10.71 | 122.78 | 600 | 540 | 2028 / 2029 | Indicative | DENR DAO 2024-02 (OSW Regime) | OSWESC Confirmed Commerciality
Visayas | San Carlos BioPower | San Carlos BioPower Inc. | ThomasLloyd | Biomass | Dedicated Sugarcane Bagasse Cogeneration | NIR | Negros Occidental | San Carlos City | 10.4812 | 123.4183 | 20 | 18 | 2015-12-01 | Operational | Standard PEISS (ECC) | Biomass FIT Allocation, ERC COC
Visayas | Victorias Milling Cogeneration | Victorias Milling Co. Inc. | Victorias Milling | Biomass | Bagasse High-Pressure Boiler Cogen | NIR | Negros Occidental | Victorias City | 10.8981 | 123.0852 | 70 | 45 | Nov 2017 / Jan 2026 | Operational / Committed | Standard PEISS | Industrial Cogen Export Agreement
Visayas | Dingle BESS Storage System | SMGP BESS Power Inc. | SMC Global Power | BESS | Utility Ancillary BESS | Region VI | Iloilo | Dingle | 11.012 | 122.671 | 20 | 20 | TBD | Committed | Standard PEISS (ECC) | NGCP Ancillary Services Framework
Mindanao | STEAG State Power Plant | STEAG State Power Inc. | AboitizPower | Coal | Pulverized Hard Coal (Subcritical) | Region X | Misamis Oriental | Villanueva | 8.5831 | 124.7572 | 210 | 195 | 2006-11-01 | Operational | Standard PEISS (ECC) | BOT PPA with NPC/PSALM, ERC COC
Mindanao | FDC Misamis Thermal Station | FDC Misamis Power Corp. | Filinvest Development | Coal | Circulating Fluidized Bed Coal | Region X | Misamis Oriental | Villanueva | 8.5982 | 124.7641 | 405 | 360 | Sep 2016 / Dec 2016 | Operational | Standard PEISS (ECC) | Long-term Bilateral PSAs, ERC COC
Mindanao | FDC Misamis Expansion (U4-U5) | FDC Misamis Power Corp. | Filinvest Development | Coal | Circulating Fluidized Bed Coal | Region X | Misamis Oriental | Villanueva | 8.5982 | 124.7641 | 270 | 240 | Dec 2026 / Mar 2027 | Committed | Standard PEISS | Non-Coverage Moratorium Confirmation
Mindanao | GNPower Kauswagan | GNPower Kauswagan Ltd. Co. | ACEN & Dinginin Cons. | Coal | Subcritical Pulverized Coal | Region X | Lanao del Norte | Kauswagan | 8.1884 | 124.0892 | 552 | 520 | May 2019 / Oct 2020 | Operational | Standard PEISS (ECC) | Bilateral Electric Cooperative PSAs
Mindanao | Therma South (TSI) | Therma South Inc. | AboitizPower | Coal | Circulating Fluidized Bed Coal | Region XI | Davao del Sur | Santa Cruz / Davao City | 7.0081 | 125.5012 | 300 | 260 | Sep 2015 / Feb 2016 | Operational | Standard PEISS (ECC) | Bilateral Urban PSAs, ERC COC
Mindanao | SMC Davao (Malita) Coal | SMC Consolidated Power Corp. | SMC Global Power | Coal | Circulating Fluidized Bed Coal | Region XI | Davao Occidental | Malita | 6.3682 | 125.6184 | 300 | 270 | Nov 2016 / Feb 2018 | Operational | Standard PEISS (ECC) | Bilateral Supply, Dedicated Point-to-Point
Mindanao | Sarangani Energy Project | Sarangani Energy Corp. | Alsons Power Group | Coal | Circulating Fluidized Bed Coal | Region XII | Sarangani | Maasim | 5.8692 | 125.0441 | 210 | 200 | Apr 2016 / Oct 2019 | Operational | Standard PEISS (ECC) | Distribution Utility Contracts
Mindanao | Minergy Balingasag Station | Minergy Power Corp. | CEPALCO | Coal | Circulating Fluidized Bed Coal | Region X | Misamis Oriental | Balingasag | 8.7362 | 124.7721 | 165 | 150 | 2017-11-01 | Operational | Standard PEISS (ECC) | Embedded Generation Agreement
Mindanao | Powersource Kiwalan Coal | Powersource Philippines Energy Inc. | Powersource Philippines | Coal | Circulating Fluidized Bed Coal | Region X | Lanao del Norte | Iligan City (Kiwalan) | 8.2814 | 124.2541 | 25 | 20 | 2020-07-01 | Operational | Standard PEISS (ECC) | Embedded Industrial Base
Mindanao | Agus I Hydroelectric Plant | National Power Corp. | PSALM | Hydro | Lake Storage Hydropower | BARMM | Lanao del Sur | Marawi City | 8.0031 | 124.2882 | 80 | 70 | 1992-06-01 | Operational | Water Concession Lake Lanao | PSALM Asset Operation
Mindanao | Agus II Hydroelectric Plant | National Power Corp. | PSALM | Hydro | Lake Cascade Storage Hydro | BARMM | Lanao del Sur | Saguiaran | 8.0562 | 124.2491 | 180 | 150 | 1979-11-01 | Operational | Agus River Hydro Concession | Mandated Rehabilitation
Mindanao | Agus IV Hydroelectric Plant | National Power Corp. | PSALM | Hydro | Underground Cavern Storage Hydro | Region X | Lanao del Norte | Balo-i | 8.1432 | 124.2184 | 158 | 140 | 1985-07-01 | Operational | Standard Concession | Hydraulic Sub-surface Network
Mindanao | Agus V Hydroelectric Plant | National Power Corp. | PSALM | Hydro | Run-of-River Hydroelectric | Region X | Lanao del Norte | Iligan City | 8.2124 | 124.2492 | 55 | 50 | 1985-10-01 | Operational | Standard Concession | PSALM Generation Allocation
Mindanao | Agus VI (Maria Cristina) Plant | National Power Corp. | PSALM | Hydro | Regulated Fall Hydropower | Region X | Lanao del Norte | Iligan City | 8.2181 | 124.2441 | 200 | 170 | May 1953 / Dec 1977 | Operational | Historical Anchor Hydro | PSALM Optimization
Mindanao | Agus VII Hydroelectric Plant | National Power Corp. | PSALM | Hydro | Tailrace Discharge Run-of-River | Region X | Lanao del Norte | Iligan City | 8.2392 | 124.2381 | 54 | 48 | 1982-11-01 | Operational | Cascaded Drainage Framework | Grid Regulation
Mindanao | Pulangi IV Hydroelectric Dam | National Power Corp. | PSALM | Hydro | Storage Reservoir Dam Hydro | Region X | Bukidnon | Maramag | 7.7812 | 125.0342 | 255 | 225 | 1985-12-01 | Operational | Pulangi River Basin Concession | PSALM Asset
Mindanao | Hedcor Bukidnon (MF 1 & 2) | Hedcor Bukidnon Inc. | AboitizPower | Hydro | Cascaded Run-of-River Hydropower | Region X | Bukidnon | Manolo Fortich | 8.3681 | 124.8562 | 68.8 | 60 | 2018-07-01 | Operational | Standard PEISS, NCIP FPIC/CP | HSC Concession
Mindanao | Hedcor Sibulan & Tudaya | Hedcor Sibulan Inc. | AboitizPower | Hydro | Mountain Run-of-River Cascade | Region XI | Davao del Sur | Santa Cruz | 6.9421 | 125.3982 | 56.1 | 50 | Dec 2010 / Mar 2014 | Operational | Standard PEISS, NCIP FPIC/CP | HSC
Mindanao | Pulanai Hydroelectric Project | Cabanglasan Hydropower Corp. | Cabanglasan Hydropower | Hydro | Run-of-River Hydroelectric | Region X | Bukidnon | Valencia City | 7.912 | 125.121 | 15 | 14 | 2026-01-01 | Committed | Standard PEISS, NCIP FPIC | HSC Concession
Mindanao | Mangima Hydro Project | Mangima Hydro Power Corp. | Mangima Hydro Power | Hydro | Run-of-River Hydroelectric | Region X | Bukidnon | Manolo Fortich | 8.381 | 124.871 | 12 | 11 | 2026-02-01 | Committed | Standard PEISS (ECC) | HSC Awarded
Mindanao | Bubunawan Hydroelectric | FGen Bubunawan Hydro Corp. | First Gen | Hydro | Run-of-River Hydropower | Region X | Bukidnon | Baungon | 8.341 | 124.712 | 32 | 30 | 2030-10-01 | Committed | Standard PEISS | HSC, FIT Allocation Confirmation
Mindanao | Mount Apo Geothermal (M1 & M2) | Mindanao Geothermal | Energy Development Corp. | Geothermal | Flash Steam Geothermal Complex | Region XII | North Cotabato | Kidapawan City | 7.0212 | 125.2631 | 108 | 102 | Mar 1997 / Jun 1999 | Operational | Standard PEISS (ECC) | GOC Concession, Protected Area Accord
Mindanao | Western Mindanao Power (WMPC) | Western Mindanao Power Corp. | Alsons Power | Oil-Based | Bunker C Internal Combustion Engine | Region IX | Zamboanga del Sur | Zamboanga City (Sangali) | 7.0691 | 122.2592 | 112 | 101.7 | 1997-12-01 | Operational | Standard PEISS (ECC) | Fast-Start Peaking / ASPA, ERC COC
Mindanao | Southern Philippines Power | Southern Philippines Power Corp. | Alsons Power | Oil-Based | Bunker C Internal Combustion Engine | Region XII | Sarangani | Alabel | 6.1021 | 125.2891 | 61.7 | 55 | 1998-03-01 | Operational | Standard PEISS (ECC) | Regional Peaking Agreement, ERC COC
Mindanao | Therma Marine Mobile PB 1 | Therma Marine Inc. | AboitizPower | Oil-Based | Floating Heavy Fuel Diesel Power Barge | Region XI | Davao de Oro | Maco | 7.3621 | 125.8562 | 100 | 96 | 1994-07-01 | Operational | Standard PEISS (Marine ECC) | ASPA Fast-Start Reserve
Mindanao | Therma Marine Mobile PB 2 | Therma Marine Inc. | AboitizPower | Oil-Based | Floating Heavy Fuel Diesel Power Barge | Region XIII | Agusan del Norte | Nasipit | 8.9881 | 125.3341 | 100 | 96 | 1994-02-01 | Operational | Standard PEISS (Marine ECC) | ASPA Fast-Start Reserve
Mindanao | Sangali Diesel Power (Phases 1-2) | Malita Power Inc. | Malita Power | Oil-Based | Aero-Derivative Mobile Gas Turbine (TM2500) | Region IX | Zamboanga del Sur | Zamboanga City (Sangali) | 7.068 | 122.258 | 56 | 54 | Apr 2026 / Jun 2026 | Committed | Standard PEISS (ECC) | Fast-Ramp Contingency Peaking Reserve
Mindanao | Digos Solar Power Station | Enfinity Philippine Renewable Resources Inc. | Enfinity | Solar | Ground Photovoltaic Station | Region XI | Davao del Sur | Digos City | 6.7582 | 125.3521 | 28.6 | 22 | 2016-03-01 | Operational | Standard PEISS (ECC) | SESC, Priority FIT Allocation
Mindanao | Kirahon Solar Plant | Kirahon Solar Energy Corp. | CEPALCO | Solar | Utility Ground Photovoltaic | Region X | Misamis Oriental | Villanueva | 8.5721 | 124.7781 | 12.5 | 10 | 2015-11-01 | Operational | Standard PEISS (ECC) | Local CEPALCO Distribution Direct
Mindanao | Tantangan Solar Project | Enfinity Philippine Renewable Fourth Inc. | Enfinity | Solar | Ground Photovoltaic Farm | Region XII | South Cotabato | Tantangan | 6.581 | 124.792 | 80 | 65 | 2026-12-01 | Committed | Standard PEISS (ECC) | SESC, GEA-2 Awardee
Mindanao | Malita Battery Energy Storage | SMGP BESS Power Inc. | SMC Global Power | BESS | Lithium-Ion Utility Energy Storage | Region XI | Davao Occidental | Malita | 6.3682 | 125.6184 | 49 | 49 | 2023-01-01 | Operational | Standard PEISS | Ancillary ASPA Frequency Regulation
Mindanao | Pitogo Standalone BESS | Fort Pilar Energy Inc. | Fort Pilar Energy | BESS | Lithium-Ion Grid Frequency Storage | Region IX | Zamboanga del Sur | Zamboanga City (Sinunuc) | 6.942 | 122.012 | 60 | 60 | 2026-02-01 | Committed | Standard PEISS (ECC) | WESM Ancillary Services Procurement
Mindanao | Nasipit Hybrid BESS | Therma Marine Inc. | AboitizPower | BESS | Hybrid Battery Integration to Power Barge | Region XIII | Agusan del Norte | Nasipit | 8.9881 | 125.3341 | 48 | 48 | 2026-04-01 | Committed | Standard PEISS (ECC) | Fast-Ramp Black-Start & Ancillary
Mindanao | Tagum Battery Energy Storage | SMGP BESS Power Inc. | SMC Global Power | BESS | Containerized Li-Ion BESS | Region XI | Davao del Norte | Tagum City | 7.448 | 125.808 | 20 | 20 | 2026-01-01 | Committed | Standard PEISS | NGCP ASPA Ancillary Services Agreement

## SPUG
Island Group | Facility Name | SPUG Operational Division | Province | Municipality | Host Barangay | Latitude (°N) | Longitude (°E) | Coordinate Benchmark Type | Prime Mover & Technology | Engine / Unit Model | Installed (kW) | Dependable (kW) | Installed (MW) | Dependable (MW) | Operating Hours/Day | Regulatory Status | Subsidized Distribution Utility (Off-Taker) | Column 1
Luzon | Basco DPP | Northern Luzon OD | Batanes | Basco | San Antonio | 20.4485 | 121.9708 | Surveyed Site GPS | High-Speed Diesel | Cummins / MTU Array | 4200 | 3300 | 4.2 | 3.3 | 24 | PEISS ECC Issued | Batanes Electric Coop. (BATANELCO)
Luzon | Itbayat DPP | Northern Luzon OD | Batanes | Itbayat | San Rafael | 20.7853 | 121.8415 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 850 | 700 | 0.85 | 0.7 | 24 | EMB Certificate of Non-Coverage | BATANELCO - Itbayat System
Luzon | Sabtang DPP | Northern Luzon OD | Batanes | Sabtang | Sinakan | 20.3312 | 121.8741 | Surveyed Site GPS | High-Speed Diesel | 2 x Cummins / Perkins | 650 | 500 | 0.65 | 0.5 | 24 | EMB Certificate of Non-Coverage | BATANELCO - Sabtang System
Luzon | Ivana DPP (Standby) | Northern Luzon OD | Batanes | Ivana | Radiwan | 20.3712 | 121.9214 | Barangay Centroid | High-Speed Diesel | Mobile Containerized Unit | 300 | 250 | 0.3 | 0.25 | Standby | EMB Certificate of Non-Coverage | BATANELCO
Luzon | Calayan DPP | Northern Luzon OD | Cagayan | Calayan | Centro II (Poblacion) | 19.2608 | 121.4792 | Surveyed Site GPS | High-Speed Diesel | Caterpillar / Cummins | 1250 | 950 | 1.25 | 0.95 | 24 | PEISS ECC Issued | Calayan Local DU
Luzon | Camiguin DPP (Babuyan) | Northern Luzon OD | Cagayan | Calayan | Balatubat | 18.9185 | 121.9421 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 350 | 280 | 0.35 | 0.28 | 16 | EMB Certificate of Non-Coverage | Calayan LGU Grid
Luzon | Polillo DPP | Southern Luzon OD | Quezon | Polillo | Poblacion | 14.7172 | 121.9388 | Surveyed Site GPS | High-Speed Diesel | Multi-unit Stationary | 3500 | 2800 | 3.5 | 2.8 | 24 | PEISS ECC Ref 04-QZN-2012 | Quezon I Electric Coop. (QUEZELCO I)
Luzon | Jomalig DPP | Southern Luzon OD | Quezon | Jomalig | Talisoy | 14.7011 | 122.3364 | Barangay Centroid | High-Speed Diesel | Containerized Cummins | 500 | 400 | 0.5 | 0.4 | 16 | EMB Certificate of Non-Coverage | QUEZELCO I - Jomalig Grid
Luzon | Patnanungan DPP | Southern Luzon OD | Quezon | Patnanungan | Poblacion | 14.7892 | 122.1843 | Barangay Centroid | High-Speed Diesel | 2 x Cummins / Lister | 600 | 480 | 0.6 | 0.48 | 16 | EMB Certificate of Non-Coverage | QUEZELCO I - Patnanungan Grid
Luzon | Lubang DPP | Mindoro-Marinduque-Romblon | Occidental Mindoro | Lubang | Aplaya (Tilik) | 13.8214 | 120.1242 | Surveyed Site GPS | High-Speed Diesel | Cummins / MTU Modules | 3150 | 2500 | 3.15 | 2.5 | 24 | PEISS ECC Issued | Lubang Electric Coop. (LUBELCO)
Luzon | Cabra DPP | Mindoro-Marinduque-Romblon | Occidental Mindoro | Lubang | Cabra Island | 13.8872 | 120.0381 | Barangay Centroid | High-Speed Diesel | Containerized Genset | 150 | 120 | 0.15 | 0.12 | 12 | EMB Certificate of Non-Coverage | LUBELCO - Cabra Island
Luzon | Romblon DPP | Mindoro-Marinduque-Romblon | Romblon | Romblon | Capaclan | 12.5768 | 122.2711 | Surveyed Site GPS | High/Med-Speed Diesel | Multi-unit Cummins/CAT | 4875 | 3600 | 4.875 | 3.6 | 24 | PEISS ECC Ref 04-RMB-09 | Romblon Electric Coop. (TIELCO)
Luzon | Sibuyan DPP | Mindoro-Marinduque-Romblon | Romblon | San Fernando | Taclobo | 12.3981 | 122.5412 | Surveyed Site GPS | High-Speed Diesel | Multi-unit High-Speed | 3179 | 2450 | 3.179 | 2.45 | 24 | PEISS ECC Issued | TIELCO - Sibuyan Grid
Luzon | Corcuera DPP | Mindoro-Marinduque-Romblon | Romblon | Corcuera | Poblacion | 12.7932 | 122.0745 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 850 | 680 | 0.85 | 0.68 | 16 | EMB Certificate of Non-Coverage | TIELCO - Simara Island
Luzon | Banton DPP | Mindoro-Marinduque-Romblon | Romblon | Banton | Poblacion | 12.9461 | 122.0673 | Barangay Centroid | High-Speed Diesel | 2 x High-Speed Diesel | 650 | 520 | 0.65 | 0.52 | 16 | EMB Certificate of Non-Coverage | TIELCO - Banton Island
Luzon | Concepcion DPP | Mindoro-Marinduque-Romblon | Romblon | Concepcion | Poblacion | 12.9814 | 121.7042 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 450 | 360 | 0.45 | 0.36 | 16 | EMB Certificate of Non-Coverage | TIELCO - Maestro de Campo
Luzon | San Jose DPP | Mindoro-Marinduque-Romblon | Romblon | San Jose | Poblacion | 12.0583 | 121.9281 | Surveyed Site GPS | High-Speed Diesel | Containerized Cummins | 1200 | 950 | 1.2 | 0.95 | 24 | PEISS ECC Issued | TIELCO - Carabao Island
Luzon | Cuyo DPP | Palawan OD | Palawan | Cuyo | Suba | 10.8521 | 121.0124 | Surveyed Site GPS | High-Speed Diesel | CAT / Cummins Array | 3850 | 3000 | 3.85 | 3 | 24 | PEISS ECC Issued | Palawan Electric Coop. (PALECO)
Luzon | Culion DPP | Palawan OD | Palawan | Culion | Balala | 11.8884 | 120.0215 | Surveyed Site GPS | High-Speed Diesel | Multi-unit Cummins | 2420 | 1900 | 2.42 | 1.9 | 24 | PEISS ECC Ref 04-PLW-2015 | PALECO - Culion Grid
Luzon | Linapacan DPP | Palawan OD | Palawan | Linapacan | San Miguel | 11.4582 | 119.8241 | Barangay Centroid | High-Speed Diesel | 2 x Containerized Gensets | 600 | 480 | 0.6 | 0.48 | 16 | EMB Certificate of Non-Coverage | PALECO - Linapacan System
Luzon | Nangalao DPP | Palawan OD | Palawan | Linapacan | Nangalao | 11.4312 | 119.9215 | Barangay Centroid | High-Speed Diesel | Single-Phase Cummins | 100 | 80 | 0.1 | 0.08 | 8 | EMB Certificate of Non-Coverage | PALECO - Nangalao Microgrid
Luzon | Agutaya DPP | Palawan OD | Palawan | Agutaya | Abongan | 11.1472 | 120.9421 | Barangay Centroid | High-Speed Diesel | 2 x High-Speed Gensets | 650 | 500 | 0.65 | 0.5 | 16 | EMB Certificate of Non-Coverage | PALECO - Agutaya Isolated Grid
Luzon | Cagayancillo DPP | Palawan OD | Palawan | Cagayancillo | Poblacion | 9.5821 | 121.1983 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 450 | 350 | 0.45 | 0.35 | 16 | EMB Certificate of Non-Coverage | PALECO - Cagayancillo Grid
Luzon | Balabac DPP | Palawan OD | Palawan | Balabac | Poblacion | 7.9881 | 117.0624 | Surveyed Site GPS | High-Speed Diesel | Multi-unit Cummins | 1800 | 1400 | 1.8 | 1.4 | 24 | PEISS ECC Issued | PALECO - Balabac Island Grid
Luzon | Rizal DPP | Palawan OD | Palawan | Rizal | Punta Baja | 9.0124 | 117.6542 | Surveyed Site GPS | High-Speed Diesel | Cummins / CAT Sets | 1500 | 1200 | 1.5 | 1.2 | 24 | PEISS ECC Issued | PALECO - Southern Palawan Line
Luzon | Casian DPP | Palawan OD | Palawan | Taytay | Casian Island | 10.9981 | 119.5312 | Barangay Centroid | High-Speed Diesel | Containerized Genset | 120 | 95 | 0.12 | 0.095 | 8 | EMB Certificate of Non-Coverage | PALECO - Casian Island Network
Luzon | Biton DPP | Palawan OD | Palawan | Taytay | Biton Island | 10.9612 | 119.5124 | Barangay Centroid | High-Speed Diesel | Small High-Speed Unit | 80 | 60 | 0.08 | 0.06 | 8 | EMB Certificate of Non-Coverage | PALECO - Biton Island Microgrid
Luzon | Mobo Fuel Hub / DPP | Bicol Operations Division | Masbate | Mobo | Pinamarbuhan | 12.3421 | 123.6315 | Surveyed Site GPS | High-Speed Diesel | Central Bulk Terminal Sets | 1500 | 1200 | 1.5 | 1.2 | Standby | PEISS ECC Ref 05-MSB-08 | Masbate Electric Coop. (MASELCO)
Luzon | Ticao DPP | Bicol Operations Division | Masbate | San Jacinto | Poblacion | 12.5714 | 123.7142 | Surveyed Site GPS | High-Speed Diesel | Multi-unit Cummins | 2750 | 2100 | 2.75 | 2.1 | 24 | PEISS ECC Issued | MASELCO - Ticao Island Grid
Luzon | Burias DPP | Bicol Operations Division | Masbate | Claveria | Poblacion | 12.8942 | 123.2381 | Surveyed Site GPS | High-Speed Diesel | Multi-unit High-Speed | 2100 | 1650 | 2.1 | 1.65 | 24 | PEISS ECC Issued | MASELCO - Burias Island Grid
Luzon | Palumbanes DPP | Bicol Operations Division | Camarines Sur | Caramoan | Palumbanes | 13.9981 | 124.0312 | Barangay Centroid | High-Speed Diesel | 1 x 22 kW Cummins + Aux | 50 | 40 | 0.05 | 0.04 | 8 | EMB Certificate of Non-Coverage | CASURECO II - Island Feeder
Luzon | Rapu-Rapu DPP | Bicol Operations Division | Albay | Rapu-Rapu | Poblacion | 13.1894 | 124.1245 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 1800 | 1400 | 1.8 | 1.4 | 24 | PEISS ECC Issued | Albay Electric Coop. (ALECO)
Luzon | Batan Island DPP | Bicol Operations Division | Albay | Rapu-Rapu | Batan | 13.2381 | 123.9852 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 500 | 380 | 0.5 | 0.38 | 16 | EMB Certificate of Non-Coverage | ALECO - Batan Sub-system
Visayas | Habag DPP | Eastern Visayas OD | Eastern Samar | Guiuan | Habag (Homonhon Is.) | 10.7421 | 125.7142 | Surveyed Site GPS | High-Speed Diesel | 2 x 15 kVA Single-Phase | 44 | 35 | 0.044 | 0.035 | 12 | EMB Certificate of Non-Coverage | Eastern Samar Electric (ESAMELCO)
Visayas | Cagusuan DPP | Eastern Visayas OD | Eastern Samar | Guiuan | Cagusuan (Homonhon) | 10.7251 | 125.7512 | Barangay Centroid | High-Speed Diesel | 1 x 20 kW + Single-Phase | 50 | 40 | 0.05 | 0.04 | 12 | EMB Certificate of Non-Coverage | ESAMELCO - Homonhon Grid
Visayas | Inapulangan DPP | Eastern Visayas OD | Eastern Samar | Guiuan | Inapulangan (Homonhon) | 10.715 | 125.698 | Barangay Centroid | High-Speed Diesel | 1 x 15 kVA Unit (ex-Bohol) | 30 | 25 | 0.03 | 0.025 | 8 | EMB Certificate of Non-Coverage | ESAMELCO - Homonhon Grid
Visayas | Manicani DPP | Eastern Visayas OD | Eastern Samar | Guiuan | San Jose (Manicani) | 11.0024 | 125.6421 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 350 | 280 | 0.35 | 0.28 | 16 | EMB Certificate of Non-Coverage | ESAMELCO - Manicani Island
Visayas | Batag DPP | Eastern Visayas OD | Northern Samar | Laoang | Marubay (Batag Is.) | 12.6142 | 125.0583 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 300 | 240 | 0.3 | 0.24 | 12 | EMB Certificate of Non-Coverage | Northern Samar Electric (NORSAMELCO)
Visayas | Capul DPP | Eastern Visayas OD | Northern Samar | Capul | San Luis (Poblacion) | 12.4312 | 124.1684 | Surveyed Site GPS | High-Speed Diesel | Caterpillar / Cummins | 1450 | 1150 | 1.45 | 1.15 | 24 | PEISS ECC Issued | NORSAMELCO - Capul Island
Visayas | San Antonio DPP | Eastern Visayas OD | Northern Samar | San Antonio | Dalupiri (Poblacion) | 12.5124 | 124.2381 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Units | 1100 | 880 | 1.1 | 0.88 | 24 | PEISS ECC Issued | NORSAMELCO - Dalupiri Grid
Visayas | Biri DPP | Eastern Visayas OD | Northern Samar | Biri | Poblacion | 12.6781 | 124.3642 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 850 | 680 | 0.85 | 0.68 | 16 | EMB Certificate of Non-Coverage | NORSAMELCO - Biri Island
Visayas | Santo Niño DPP | Eastern Visayas OD | Samar (Western) | Santo Niño | Poblacion | 11.8942 | 124.4312 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 1200 | 950 | 1.2 | 0.95 | 24 | PEISS ECC Issued | Samar I Electric Coop. (SAMELCO I)
Visayas | Almagro DPP | Eastern Visayas OD | Samar (Western) | Almagro | Poblacion | 11.9124 | 124.2981 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 750 | 600 | 0.75 | 0.6 | 16 | EMB Certificate of Non-Coverage | SAMELCO I - Almagro Island
Visayas | Tagapul-an DPP | Eastern Visayas OD | Samar (Western) | Tagapul-an | Sugod (Poblacion) | 12.0421 | 124.1842 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 650 | 500 | 0.65 | 0.5 | 16 | EMB Certificate of Non-Coverage | SAMELCO I - Tagapul-an Island
Visayas | Maripipi DPP | Eastern Visayas OD | Biliran | Maripipi | Ermita (Poblacion) | 11.7852 | 124.3312 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Array | 1150 | 900 | 1.15 | 0.9 | 24 | PEISS ECC Issued | Biliran Electric Coop. (BILECO)
Visayas | Limasawa DPP | Eastern Visayas OD | Southern Leyte | Limasawa | Triana | 9.9142 | 125.0741 | Surveyed Site GPS | High-Speed Diesel | Multi-unit Cummins | 1350 | 1050 | 1.35 | 1.05 | 24 | PEISS ECC Issued | Southern Leyte Electric (SOLECO)
Visayas | Bilangbilangan DPP | Western Visayas OD | Bohol | Tubigon | Bilangbilangan | 9.9842 | 123.8841 | Barangay Centroid | High-Speed Diesel | 1 x 15 kVA Single-Phase | 30 | 24 | 0.03 | 0.024 | 8 | EMB Certificate of Non-Coverage | Bohol I Electric Coop. (BOHECO I)
Visayas | Mocaboc DPP | Western Visayas OD | Bohol | Tubigon | Mocaboc | 10.0612 | 123.9281 | Barangay Centroid | High-Speed Diesel | Small Containerized Unit | 35 | 28 | 0.035 | 0.028 | 8 | EMB Certificate of Non-Coverage | BOHECO I - Danajon Microgrid
Visayas | Pangapasan DPP | Western Visayas OD | Bohol | Tubigon | Pangapasan | 9.9912 | 123.9512 | Barangay Centroid | High-Speed Diesel | Single High-Speed Set | 40 | 32 | 0.04 | 0.032 | 8 | EMB Certificate of Non-Coverage | BOHECO I - Tubigon Outliers
Visayas | Batasan DPP | Western Visayas OD | Bohol | Tubigon | Batasan | 10.0124 | 123.9851 | Barangay Centroid | High-Speed Diesel | 1 x Perkins Diesel | 45 | 35 | 0.045 | 0.035 | 8 | EMB Certificate of Non-Coverage | BOHECO I - Tubigon Outliers
Visayas | Ubay DPP (Reserve) | Western Visayas OD | Bohol | Ubay | Poblacion | 10.052 | 124.461 | Surveyed Site GPS | High-Speed Diesel | Rationalization Reserve Unit | 500 | 400 | 0.5 | 0.4 | Standby | PEISS ECC Issued | BOHECO II Support
Visayas | Gigantes DPP | Western Visayas OD | Iloilo | Carles | Granada (Gigantes N.) | 11.5912 | 123.3421 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 1350 | 1080 | 1.35 | 1.08 | 24 | PEISS ECC Issued | Iloilo II Electric Coop. (ILECO II)
Visayas | Sicogon DPP | Western Visayas OD | Iloilo | Carles | Buaya (Sicogon Is.) | 11.4512 | 123.2514 | Barangay Centroid | High-Speed Diesel | 2 x High-Speed Sets | 600 | 480 | 0.6 | 0.48 | 16 | EMB Certificate of Non-Coverage | ILECO II - Sicogon Grid
Visayas | Caluya DPP | Western Visayas OD | Antique | Caluya | Poblacion | 12.0124 | 121.5542 | Surveyed Site GPS | High-Speed Diesel | Multi-unit Cummins | 2450 | 1950 | 2.45 | 1.95 | 24 | PEISS ECC Issued | Antique Electric Coop. (ANTECO)
Visayas | Semirara DPP | Western Visayas OD | Antique | Caluya | Semirara (Tinogboc) | 12.0681 | 121.3852 | Surveyed Site GPS | High-Speed Diesel | Containerized Gensets | 1200 | 950 | 1.2 | 0.95 | 24 | Industrial Mining Buffer Accord | ANTECO - Semirara Village Grid
Mindanao | Dinagat DPP | Eastern Mindanao OD | Dinagat Islands | San Jose | Don Ruben | 10.0084 | 125.5681 | Surveyed Site GPS | High/Med-Speed Diesel | Caterpillar Array | 11800 | 9400 | 11.8 | 9.4 | 24 | PEISS ECC Ref 13-DNG-2005 | Dinagat Island Electric (DIELCO)
Mindanao | Sibanag DPP | Eastern Mindanao OD | Dinagat Islands | Basilisa | Sibanag | 10.0542 | 125.5124 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 300 | 240 | 0.3 | 0.24 | 16 | EMB Certificate of Non-Coverage | DIELCO - Western Coastal Grid
Mindanao | Loreto DPP | Eastern Mindanao OD | Dinagat Islands | Loreto | Poblacion | 10.3642 | 125.5841 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Units | 1850 | 1450 | 1.85 | 1.45 | 24 | PEISS ECC Issued | DIELCO - Loreto Sub-system
Mindanao | Hinatuan DPP | Eastern Mindanao OD | Surigao del Norte | Tagana-an | Hinatuan Island | 9.7124 | 125.7012 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 450 | 360 | 0.45 | 0.36 | 16 | EMB Certificate of Non-Coverage | Surigao del Norte Electric (SURNECO)
Mindanao | Balut Island DPP | Eastern Mindanao OD | Davao Occidental | Sarangani | Mabila (Balut Is.) | 5.4012 | 125.3852 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 1650 | 1300 | 1.65 | 1.3 | 24 | PEISS ECC Issued | Davao del Sur Electric (DASURECO)
Mindanao | Sarangani Is. DPP | Eastern Mindanao OD | Davao Occidental | Sarangani | Batuganding | 5.4381 | 125.4712 | Barangay Centroid | High-Speed Diesel | 2 x Containerized Gensets | 400 | 320 | 0.4 | 0.32 | 16 | EMB Certificate of Non-Coverage | DASURECO - Sarangani Sub-system
Mindanao | Basilan DPP | Western Mindanao OD | Basilan (BARMM) | Isabela City | Menzi | 6.6852 | 121.9912 | Surveyed Site GPS | High/Med-Speed Diesel | Multi-unit Niigata/Cummins | 10000 | 8000 | 10 | 8 | 24 | PEISS ECC Ref 09-BAS-2001 | Basilan Electric Coop. (BASELCO)
Mindanao | Power Barge 109 | Western Mindanao OD | Basilan (BARMM) | Isabela / Maluso | Port Moor Site | 6.6542 | 121.9214 | Surveyed Anchorage | Heavy Bunker/Diesel PB | Marine Sulzer Engines | 6930 | 5500 | 6.93 | 5.5 | 24 | PEISS Marine ECC Issued | BASELCO Subsea Integration
Mindanao | Baluk-Baluk DPP | Western Mindanao OD | Basilan (BARMM) | Hadji Muhtamad | Baluk-Baluk | 6.4851 | 121.6542 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 350 | 270 | 0.35 | 0.27 | 12 | EMB Certificate of Non-Coverage | BASELCO - Pilas Island Group
Mindanao | Tapiantana DPP | Western Mindanao OD | Basilan (BARMM) | Tabuan-Lasa | Tapiantana | 6.3124 | 121.9741 | Barangay Centroid | High-Speed Diesel | 2 x Containerized Units | 250 | 200 | 0.25 | 0.2 | 12 | EMB Certificate of Non-Coverage | BASELCO - Tapiantana Sub-system
Mindanao | Jolo DPP | Western Mindanao OD | Sulu (BARMM) | Jolo | Asturias | 6.0481 | 121.0042 | Surveyed Site GPS | High/Med-Speed Diesel | Caterpillar / MAN Array | 12500 | 9800 | 12.5 | 9.8 | 24 | PEISS ECC Ref 09-SUL-2004 | Sulu Electric Coop. (SULECO)
Mindanao | Power Barge 119 | Western Mindanao OD | Sulu (BARMM) | Jolo | Jolo Anchorage | 6.0542 | 121.0112 | Surveyed Anchorage | Heavy Bunker/Diesel PB | Marine Heavy Diesel | 7200 | 5800 | 7.2 | 5.8 | 24 | PEISS Marine ECC Issued | SULECO Marine Offshore Feed
Mindanao | Siasi DPP | Western Mindanao OD | Sulu (BARMM) | Siasi | Poblacion | 5.5482 | 120.8124 | Surveyed Site GPS | High-Speed Diesel | 4 x Cummins Sets | 3200 | 2500 | 3.2 | 2.5 | 24 | PEISS ECC Issued | SULECO - Siasi Sub-system
Mindanao | Luuk DPP | Western Mindanao OD | Sulu (BARMM) | Luuk | Poblacion | 5.9841 | 121.3124 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 1200 | 950 | 1.2 | 0.95 | 16 | PEISS ECC Issued | SULECO - Luuk Line
Mindanao | Pangutaran DPP | Western Mindanao OD | Sulu (BARMM) | Pangutaran | Poblacion | 6.2842 | 120.5512 | Barangay Centroid | High-Speed Diesel | 2 x High-Speed Sets | 850 | 680 | 0.85 | 0.68 | 16 | EMB Certificate of Non-Coverage | SULECO - Pangutaran Island
Mindanao | Pandami DPP | Western Mindanao OD | Sulu (BARMM) | Pandami | Poblacion | 5.5124 | 120.7381 | Barangay Centroid | High-Speed Diesel | Containerized Units | 450 | 360 | 0.45 | 0.36 | 12 | EMB Certificate of Non-Coverage | SULECO - Pandami Island
Mindanao | Bongao DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Bongao | Tubig Boh | 5.0312 | 119.7741 | Surveyed Site GPS | High-Speed Diesel | Cummins Array | 8500 | 6800 | 8.5 | 6.8 | 24 | PEISS ECC Ref 09-TWT-2006 | Tawi-Tawi Electric (TAWELCO)
Mindanao | Power Barge 108 | Western Mindanao OD | Tawi-Tawi (BARMM) | Bongao | Bongao Harbor | 5.0354 | 119.7812 | Surveyed Anchorage | Heavy Bunker/Diesel PB | Marine Sulzer Diesel | 7200 | 5800 | 7.2 | 5.8 | 24 | PEISS Marine ECC Issued | TAWELCO - Provincial Base
Mindanao | Panglima Sugala DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Panglima Sugala | Batu-Batu | 5.1481 | 119.8912 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 2100 | 1650 | 2.1 | 1.65 | 24 | PEISS ECC Issued | TAWELCO - Mainland Line
Mindanao | Sitangkai DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Sitangkai | Datu Baguinda Putih | 4.6624 | 119.3981 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 1800 | 1400 | 1.8 | 1.4 | 24 | PEISS ECC Issued | TAWELCO - Stilt Grid
Mindanao | Sibutu DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Sibutu | Poblacion | 4.8214 | 119.4612 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 1250 | 1000 | 1.25 | 1 | 16 | PEISS ECC Issued | TAWELCO - Sibutu System
Mindanao | Tandubas DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Tandubas | Poblacion | 5.1381 | 120.2184 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Sets | 950 | 750 | 0.95 | 0.75 | 16 | EMB Certificate of Non-Coverage | TAWELCO - Tandubas System
Mindanao | Languyan DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Languyan | Poblacion | 5.2642 | 120.0812 | Barangay Centroid | High-Speed Diesel | 2 x Cummins Generators | 850 | 680 | 0.85 | 0.68 | 16 | EMB Certificate of Non-Coverage | TAWELCO - Languyan Line
Mindanao | Latuan DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Sitangkai | Latuan | 4.712 | 119.421 | Barangay Centroid | High-Speed Diesel | Containerized Genset | 300 | 240 | 0.3 | 0.24 | 12 | EMB Certificate of Non-Coverage | TAWELCO - Latuan Microgrid
Mindanao | Mapun DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Mapun | Lupa Pula | 7.0124 | 118.5042 | Surveyed Site GPS | High-Speed Diesel | 3 x Cummins Sets | 1500 | 1200 | 1.5 | 1.2 | 16 | PEISS ECC Issued | TAWELCO - Mapun Sub-system
Mindanao | Turtle Islands DPP | Western Mindanao OD | Tawi-Tawi (BARMM) | Turtle Islands | Taganak | 6.1541 | 118.0583 | Barangay Centroid | High-Speed Diesel | 2 x Small Gensets | 350 | 280 | 0.35 | 0.28 | 12 | EMB Certificate of Non-Coverage | TAWELCO - Turtle Islands Grid